INSPECTION CHECKLIST

_______BUILDER’S COPY        _______TOWNSHIP COPY

PERMIT NUMBER MUST BE GIVEN WHEN  REQUESTING  INSPECTIONS

Permit #: _______________________    Block___________    Lot ___________ Owner______________________________

Address: _____________________________________________________________________________________________

Required inspections for each subcode of this permit are indicated by either an (X) or hand written by the appropriate plan reviewer.  Rough Electric, Plumbing, Mechanical, and Fire must be Approved before scheduling Frame inspection.

The owner or other responsible person in charge of work must notify this agency when work is ready for any of the required inspections specified below.  Requests for inspections must be made at least 24 hours prior to the date the inspection is desired.  Inspections will be performed within three business days of the date requested. The work must not proceed in a manner which will preclude the inspection from being completed and approval given. Only an adult (18 yrs. or older) may grant access to an occupied building. Appropriate ladders must be set up on site if attics, basements, and/or crawlspaces do not have stairways.

All inspection requests must be called into the Building Department, (908) 369-4313, ext. 165 or 166 and scheduled with a Technical Assistant before any inspection can be performed.  Each property to be inspected will be properly identified by placing the Construction Permit Notice in area visible from the approach to the property. The “BUILDER’S COPY” of plans released by the Building Department must be kept on the job site for the inspectors’ use.  Any violations of the released plans and/or permit will be noted by the inspector and the holder of the permit notified.  No inspection requests, permit updates, or plan revisions, will be accepted by inspectors in the field.

Before an application for Certificate of Occupancy can be made, all required final inspections shall be conducted and approved and all outside approvals received in writing.

BUILDING SUBCODE INSPECTION

(     )	Bottom of footings prior to placement of concrete and/or compacted gravel.

(     )	Reinforcement in footings, walls, bond beams, piers, etc., prior to placement of concrete.

(     )	Foundations and all walls prior to backfilling.   New buildings must have APPROVED foundation compliance from 	engineering before this inspection is scheduled.

(     )	Floor slabs, including required Radon mitigation and sub-slab insulation, prior to placement of concrete.

(     )     All exterior roof and wall sheathing.

(     )     Frame inspection which includes all structural walls, floors, roofs, fireblocking, firestopping, and truss bracing prior to 	covering with finish or infill materials.  This inspection shall also include all required fastening devices including but 	not limited to joist hangers, hurricane clips, let-in bracing, nail and screw fastening schedules.  THIS INSPECTION 	SHALL BE CALLED FOR ONLY AFTER ROUGH PLUMBING, MECHANICAL, ELECTRICAL AND FIRE 	INSPECTION APPROVALS HAVE BEEN OBTAINED.  Structure must also be weather-tight.

(     )     Insulation inspection prior to installation of finish materials (ceilings, walls, and floors)

(     )     Drywall inspection before spackling and taping on Fire-Rated Assemblies Only (each layer).

(     )     Above ceiling inspection prior to the installation of ceiling tiles.

(     )     Final inspection which includes equipment, final connections and all finish materials.

(     )     Other required inspections:

______________________________________________________________________________________________	______________________________________________________________________________________________

ELECTRIC SUBCODE INSPECTIONS

(     )     Rough electric under concrete slab prior to backfill and placement of concrete.

(     )     Rough electric which includes outlet spacing, type of box and size, wire size and grounding prior to covering with 	finish or infill materials.

(     )     Rough Low Voltage (alarms, data, catv, telephone)

(     )     Service which includes panel (s), wire size, grounding and over current protection.

(     )     Above Ceiling prior to installation of ceiling tiles.

(     )     Trench inspection prior to backfill.

(     )     Bonding, grounding, or bonding grid prior to backfill or placement of concrete.

(     )     Final inspection which includes devices, fixtures, appliances, GFI requirements after installation of finish 	materials 	and utilization equipment.

(     )     Other required inspections:

______________________________________________________________________________________________

________________________________________________________________________________________

______________________________________________________________________________________________

OVER>

PLUMBING/ MECHANICAL SUBCODE INSPECTIONS

(     )     Rough plumbing required for all buried piping in soil or under slab, either inside or outside of structures prior to 	backfill and /or placement of concrete.

(     )     Rough plumbing which includes sanitary piping, water piping, storm drains and radiant heat.

Rough plumbing requires air or water test for all D.W.V. and water piping including storm drains and radiant heat.

(     )     Water service from building to property line or curb line. Test is required.

(     )     Sewer service from building to property line or curb line or to septic tank. Test is required.

(     )     Final plumbing which includes piping, trim, fixtures, cross connections, back flow preventers, temp.control devices, 	and water treatment systems.

(     )     Rough gas piping.  Test is required. Note - Gas testing shall be done via one of the following:

a.  Manometer – shall withstand a pressure of not less than 10.0 inches. 3lb (mercury).

b.  Mercury Gauge – shall withstand a pressure of not less than 10.0 inches.

c.  Test Gauge – the pressure gauge utilized to measure the test pressure shall have a maximum reading of 15 psi    	     	              and have a Maximum Gauge of 30 Lbs.

(     )     Final gas piping to all appliances requiring gas.

(     )     Final on all heating systems and water heaters including combustion air.

(     )     Final air conditioning on all units manufactured for domestic and commercial cooling.

(     )     Rough supply and return air duct sizing and location.

(     )     Rough and Final on all mechanical refrigeration equipment, (pressure test required.)

(     )     Smoke test required for all prefabricated/ modular buildings.

(     )     Other required inspections

______________________________________________________________________________________________

FIRE SUBCODE INSPECTIONS

(     )	Sprinklers:			Rough – placement of pipe, hangers, seismic bracing & heads

Hydro – 200# test for 2 hours

Final – walkthrough and flow test of system per NFPA13 & 25

(     )	Standpipes:	        		Rough – placement of pipe, hangers, seismic bracing

Hydro – 200# test for 2 hours

Final – walkthrough and flow test of system per NFPA 14 & 25

(     )     Fire Pump:	   		Complete pump run and flow test per NFPA 20 & 25

(     )	Private Fire	   		Rough – underground of piping prior to covering pipe

Hydrant & Underground	Thrust blocking – to verify installed properly

Fire Line:			Hydro & Flushing – 200# test for 2 hours and flush out line

Final – Flow test per NFPA 24 & 25

(     )	FM 200 Suppression		Rough – verify pipe & nozzle placement

Systems: (Alarm		Pressure test - Pipe pressure test &

System inspections		Pipe puff test – verify piping clean

needed see below)		Room fan test – verify integrity of room

Final – verify system completely functional per NFPA 2001

(     )	Commercial Kitchen Exhaust 	Rough – verify hood size & exhaust duct size

Hoods (Including internal	Final – verify suppression system components &

suppression system)			all shut downs part of exhaust system

(     )	Fire Alarms:			Rough – to verify locations of all components

Final – 100% test with voltage & amp readings per NFPA 72

(     )	Furnaces:	Residential	Final – to verify installation compliance

Commercial	Final – verify placement and functional test

(     )	Chimneys: (Metal only)

Residential		Rough – to verify clearances, supports & type of chimney used

Final – to verify completion

Commercial		Rough – prior to closing in to verify size & clearances

Final – verify height and system complete

(     )	Underground Water Tanks:	Rough - Tank placement and 1st pressure test

2nd Pressure test- once tank placed in ground but not covered

Piping – to verify tank suction, fill and vent piping

Final – once tank filled and to verify functional

(     )	Fuel storage tanks:

Removal		Removal – once tank in uncovered but prior to removal

Final – to verify tank & all piping removed

Installation		Final – to verify tank type

(     )	Prefab Fireplace/Wood Stove	Rough – to verify installation of chimney and firebox unit

Final – to verify installation completed

(     )	Other Miscellaneous items:	Dryer venting, Number ordinance verification, FDC sign 							verification, residential kitchen stoves & ovens

(     )     	Final 				Certificate of Continued Occupancy (CCO) and Change of Use (COU)

including Fire Extinguisher placement.

(     )     Other required inspections

______________________________________________________________________________________________

IF YOU DO NOT UNDERSTAND ANY OF THIS INFORMATION, PLEASE ASK

(908) 369 – 4313 Ext. 165 or 166